## Slide 1: Development of a Standardised Nanopore Bioinformatics Pipeline for Rare Disease
Nour Mahfel
Trainee clinical scientist at Birmingham Women’s Hospital NHS

## Slide 2
Content
01
The clinical problem
02
Study design & objectives
03
Project plan
04
Pipeline design
06
Pipeline development
06
Validation
07
Impact, limitations, and next steps

## Slide 3
Rare diseases
400M
People affected globally
Fewer than 1 in 2,000 individuals per condition
80%
Have a genetic basis
Often pathogenic variants in conserved housekeeping genes
75%
Present in childhood
Frequently as neurodevelopmental disorders
8,000+
Described rare disorders
New disease genes still being catalogued
30-40%
Diagnostic yield

## Slide 4
Genetic variation (SNVs)
In the Human Gene Mutation Database, missense and nonsense substitutions account for ~63% of entries, with splicing mutations contributing a further ~8%

## Slide 5
Genetic variation (SVs)

## Slide 6
Genetic variation (STR expansions)

## Slide 7
Reference genome (repetitive region highlighted)
Reads break inside repeats
- cannot span, cannot phase
Short-read coverage (~150 bp fragments)
SV under-detection
Reads break inside repeats; breakpoints span fragments that cannot be reliably reconstructed
STR expansions hidden
Pathogenic repeat lengths often exceed read length - expansion size cannot be measured
Phasing is short-range
Compound heterozygous cis/trans relationships cannot be resolved across distant variants
Methylation is not captured
Bisulfite conversion or methylation array run in parallel - added cost, coordination, and turnaround
Current Diagnostic challenges

## Slide 8: What is long read sequencing?
PacBio
ONT

## Slide 9
Advantages of long reads
⟷
Span complex variation
~ 20,000 SVs per genome vs ~ 6,000 from SR-WGS
☰
Long-range phasing
Critical for recessive disease interpretation
∴
Full STR genotyping
Including interrupting motifs and methylation state
⊚
Native methylation
Single library covers sequence and epigenetic analysis
Reported incremental diagnostic yield of LR-WGS in unresolved rare disease: 7-17% above SR-WGS baseline.

## Slide 10
Barriers to clinical implementation
Historical barriers
Sequencing error rate
Cost per genome
Validated bioinformatics pipelines
QMS and accreditation investment
Where we stand now
Largely resolved by new chemistry
Costs falling, single-assay value growing
Peer-reviewed validated tools available
Genomics England ONT cancer pilot study

## Slide 11
The NEEDED study at WMGL
Study cohort
28
families (trios)
proband + both biological parents
NDD
phenotypes
unresolved neurodevelopmental disorders
All
prior SR-WGS
no molecular diagnosis from NHS GMS testing
3
positive controls
previously identified
REC
ethics approval
15/WM/0076 - Understanding the Genomic Basis for Human Disease

## Slide 12
The bioinformatics gap
Research-use script
Selected individual analysis steps only
No containerisation or version pinning
No formal documentation or governance
Dependent on external maintenance

## Slide 13: The study objectives
Primary objective
  Establish an in-house pipeline that is reproducible, portable, and auditable
  Quantify diagnostic yield of a long-read pipeline vs the short-read baseline
Secondary objectives
  Conduct cost-benefit analysis: consumables, compute/storage, staff time, TAT, and confirmation burden
  Assess feasibility: sample/coverage requirements and platform fit

## Slide 14
Project Aim
Design, develop, validate, and implement a long-read sequencing bioinformatics pipeline applied to the NEEDED cohort within the WMGL quality management system, and evaluate its analytical performance and potential clinical utility for future diagnostic implementation.

## Slide 15
Establish a Clinical-grade long-read workflow needed for diagnostics
The development pathway
Project plan
URS

## Slide 16
Quality management systems
ISO 15189:2022
CE 25.04.14
Change Enquiry
Formal governance submitted through the WMGL Suggest & Change application (ChangeApp).
DCB 0129 / 0160
Clinical safety
NHS Digital standards for clinical risk management in health IT.
Three interrelated governance components
Specification
Measurable performance criteria: analytical
Requirements
Functional and non-functional needs of stakeholders
Options appraisal
Three candidate approaches compared

## Slide 17
2025
2025
Today
Nov
Project plan
Establish project scope and timescale
Conduct a risk assessment

## Slide 18
Options appraisal
Option 1
No change
Weighted score: 6
Option 2
Adopt EPI2ME wf-human-variation
Weighted score: 27
Option 3
✓ SELECTED
In-house nf-core development
Weighted score: 57

## Slide 19
Clinical risk assessment
ID
Category
Risk
Mitigation
R1
Internal
Tool version drift
Containerisation + semantic versioning + tag pinning in SOPs
R2
Internal
Incomplete test coverage
nf-test at module/subworkflow/e2e; GIAB benchmark
R3
Internal
Single developer bottleneck
Code review by registered Clinical Bioinformatician
R4
Internal
Scope creep
MoSCoW framework; deferred Could/Won't to future releases
R5
Internal
Data integrity errors
Automated input validation
R6
Internal
Inadequate parameter docs
All non-default params logged with rationale
R7
External
Data breach on HPC
Pseudonymisation; VPN + 2FA; DPIA completed
R8
External
ONT chemistry
Monitor release notes
Outcome: No clinical risks identified that would prevent safe delivery. Risk register maintained as a living document in CE 25.04.14 and reviewed at each sprint retrospective.

## Slide 20
Establish a Clinical-grade long-read workflow needed for diagnostics
Determine the architecture of the long-read pipeline.
The development pathway
Software Design
Project plan
URS

## Slide 21
Software Design
The software design was determined during the initial phase.
Key considerations included what input data were available (uBAM/FASTQ), the required outputs, and which VCF formats needed to be compatible with downstream DSS tools.
Follows standard bioinformatics pipeline, but is enhanced to analyse long read sequencing data and uses long read tools

## Slide 22
What are Nextflow and nf-core?
Nextflow - the recipe language
Designed to help build large workflows
Steps can run in parallel and resume
HPC/Cloud compatibility
nf-core - the curated cookbook
Peer-reviewed tools
Automated tests
Reproducibility, portability, and version control
In short: Nextflow is the language we write the pipeline in. nf-core is the community that checks it is built to standard and shares it with other labs.

## Slide 23
What are Nextflow and nf-core?

## Slide 24
Analytical flow
From uBAM/FASTQ input to unified annotated VCF - sequential core, parallel variant branches
INPUT
FASTQ / uBAM
samplesheet
PHASE / TAG
BAM
ALIGN
minimap2
→ BAM + MM/ML
SNV / INDEL
SV
CNV
STR
Methylation
TRIO
OUTPUT
→ SeqOne
Sequential core (align → phase) feeds parallel variant branches (SNV/SV/CNV/STR/methyl), which converge in trio analysis and produce a unified VCF for clinical review.

## Slide 25
Multi-caller SV consensus strategy
No single long-read SV caller detects all variant types with equal sensitivity - we run three, then merge
Why multi-caller?
Complementary performance
Published benchmarks show SV callers differ in sensitivity and precision across deletions, insertions, inversions, and duplications.
Higer sensitivity
Missing a pathogenic variant costs a family a diagnosis. Running multiple callers and merging increases overall sensitivity.
Confidence from consensus
Variants supported by multiple callers carry higher confidence than single-caller calls, supporting downstream filtering strategies.
Sniffles2
v2.6.2 · general-purpose, population-scale
CuteSV
v2.1.2 · clustering-based, tuned for ONT
SVIM
v2.0.0 · alignment-based, complex SV focus
JASMINE
v1.1.5 · merge
MERGED
SV VCF

## Slide 26
Pre-execution validation framework

## Slide 27
The development pathway
Develop an nf-core style pipeline.
Write Modules, Subworkflows, Worfklows.
Establish a Clinical-grade long-read workflow needed for diagnostics
Determine the architecture of the long read pipeline.
Software Design
Project plan
URS
Pipeline
development
Testing profile
Subset HG002

## Slide 28: The long read sequencing pipeline

## Slide 31
Testing and continuous integration
Test coverage
Module tests
Per-tool unit tests - each wrapper confirmed to execute correctly on a small input
Subworkflow tests
Integration tests verifying channel plumbing and input/output shapes between modules
End-to-end tests
Whole-pipeline runs on chr22 subset: single sample and full Ashkenazim trio

## Slide 32
Validation runs
Positive controls
Truth dataset
The development pathway
Develop an nf-core style pipeline.
Write Modules, Subworkflows, Worfklows.
Establish a Clinical-grade long-read workflow needed for diagnostics
Determine the architecture of the long read pipeline.
Software Design
Project plan
URS
Pipeline
development
Testing profile
Subset HG002
Validation

## Slide 33
Benchmarking setup
GIAB = Genome in a Bottle, a NIST-led public truth set used to benchmark variant callers
Trio pedigree
HG003
father
HG004
mother
HG002
proband
squares = male · circles = female
Protocol
Raw data
Basecalling with Dorado → uBAM
Processing end-to-end through the pipeline
Benchmark truth sets
SV (HG002 only)
SNV/INDEL (all three)

## Slide 34
Asheknazim quality analysis
Depth
What does mosdepth do?
Mosdepth is a fast program that measures depth from aligned reads.
How to read the curves
A curve that stays high until 40x means most of the genome has at least 40x coverage.
Coverage in practice
GIAB benchmark trio - target ~40x

## Slide 35
SV calling performance
Chart: 
| Sniffles2 | CuteSV | SVIM | JASMINE merge
Precision | 0.952 | 0.947 | 0.934 | 0.947
Recall | 0.981 | 0.986 | 0.968 | 0.99
F1 score | 0.966 | 0.966 | 0.95 | 0.968
Key findings

## Slide 36
SNV and INDEL performance
SNV calling
F1 ≥ 0.997 across all three samples
Chart: 
| HG002 | HG003 | HG004
Precision | 0.9975 | 0.9969 | 0.9963
Recall | 0.9986 | 0.9977 | 0.9982
F1 | 0.998 | 0.9973 | 0.9972
INDEL calling
Lower and more variable - HG002 F1 0.848
Chart: 
| HG002 | HG003 | HG004
Precision | 0.8307 | 0.9184 | 0.915
Recall | 0.8659 | 0.9305 | 0.9176
F1 | 0.8479 | 0.9244 | 0.9163
Why INDELs are harder for ONT. Nanopore signals in homopolymer regions produce extended, less distinct ionic currents - making it difficult to resolve the exact number of repeated bases. R10.4.1 dual-reader chemistry improved this but residual homopolymer error remains.

## Slide 37
Trio concordance
Chart: 
| HG002 × HG003 | HG002 × HG004 | HG002 × both
SNV | 0.995 | 0.996 | 0.991
SV | 0.821 | 0.834 | 0.753

## Slide 38
Repeat-rich context
SVs concentrate in repetitive and segmentally duplicated regions where read mapping is ambiguous
No canonical SV representation
Same rearrangement can be recorded with different start coordinates, SV types, or allele lengths - caller dependent
Complex classes genotyped less accurately
Inversions and large duplications carry more residual genotyping uncertainty than SNVs
Matches published expectations
~15% Mendelian inconsistency
Trio concordance

## Slide 39
Computational performance
Alignment dominates runtime; median total trio processing on BEAR is ~ 20 hours
~ 20 h
Median trio runtime
end-to-end uBAM → annotated trio VCF
~ 8 h
Alignment per genome
minimap2, 32 CPUs, 64 GB memory
32 × 64
CPUs × GB memory
per module allocation on BEAR
40 ×
Mean coverage
achieved across all cohort families
minimap2 (alignment)
60%
SV callers (parallel)
15%
Clair3 (SNV/INDEL)
12%
Annotation + merge
5%
QC + methylation + STR
5%
Trio analysis
3%
Research-acceptable today. For clinical turnaround, GPU-accelerated alignment or alignment within ONT instrument would be a more suitable approach.

## Slide 40
Positive control validation
Three families with previously confirmed diagnoses - all three pathogenic variants successfully recovered
✓ 100% recovery of known diagnostic variants
Family 1
SMARCB1
c.1084_1086del p.(Glu362del)
De novo
Coffin-Siris syndrome
Family 2
RNU4ATAC
n.13C>T + n.48G>A
Compound het (mat + pat)
RNU4ATAC-related disorder
Family 3
APC
c.730-494C>G
Heterozygous
Familial adenomatous polyposis

## Slide 41
Validation runs
Positive controls
Truth dataset
The development pathway
Validation
Pipeline deployment
Pipeline accepted to be published on nf-core and used internationally.
Develop an nf-core style pipeline.
Write Modules, Subworkflows, Worfklows.
Establish a Clinical-grade long-read workflow needed for diagnostics
Determine the architecture of the long read pipeline.
Software Design
Project plan
URS
Pipeline
development
Testing profile
Subset HG002

## Slide 42
Impact and outcomes
From internal research tool to community-reviewed open-source pipeline
Technical
Pipeline delivered
Clinical
Outputs for review
Community
Published on nf-core
⎔
Open source
On GitHub
Repository
nf-core/longraredisease
Status
v1.0.0dev (release PR #38 open)
Framework
Nextflow DSL2 ≥ 25.04
Standards
nf-core 3.4.1
Licence
MIT (open-source)
github.com/nf-core/longraredisease

## Slide 43
Limitations
What to keep in mind
Fewer variants when callers must agree
Translocations (BNDs) not detected equally
Only three positive controls
What works well
DSS compatibility
Captures all variant classes
Transparent, auditable, open

## Slide 44
Future directions
Apply to remaining cohort Process 15 additional trios in preparation for sequencing; multidisciplinary review of candidates for publication as a formal diagnostic yield study.
Alignment optimisation NVIDIA Parabricks Minimap2 (GPU-accelerated) as a near-term target to reduce the 8-hour alignment bottleneck and meet clinical turnaround times.
De novo assembly integration Hifiasm-style haplotype-resolved assemblies improve INDEL calling in homopolymers and SV resolution; convergence on consensus reduces alignment-level artefacts.
Platform-agnostic extension Extend pipeline to PacBio HiFi data. A single governed workflow across UK GMS platforms would simplify cross-site analytical comparison and accreditation.

## Slide 45
Thank you
ACKNOWLEDGMENTS
WMGL supervision
Chipo Mashayamombe-Wolfgarten, PhD
Natalie Borrows
Joe Larkman
University & collaborators
Dr Michael Cornell
Dr Helen Hulme
Andrew Devereau
Rike Hanssen
NEEDED study
Dr Hannah Titheradge
Professor Andrew Beggs
Lorraine Hartles-Spencer
Danielle Morris
Questions welcome